## Sheet2
Disclaimers: This list is not an exhaustive list and is current as of the date posted. For a complete list of assays, go to: https: //www.fda.gov/medical-devices/coronavirus-disease-2019-covid-19-emergency-use-authorizations-medical-devices/in-vitro-diagnostics-euas. Projects must execute the EUA instructions exactly as stated in the FDA authorization letter and IFU (information for use). In the event that the below reference guide or EUA instructions do not align with FDA requirements, all projects must follow FDA requirements.
*Please refer to FDA communications (i.e. https://www.fda.gov/medical-devices/medical-device-safety/medical-device-recalls ) for applicable recalls or FDA notices on certain assays. * All stricken through assays have had their FDA authorizations revoked.
Quick Reference for Point of Care Testing Options with Emergency Use Authorization
Updated: 08 December 2023
Manufacturer | RADx-TECH/ATP | Test Name | Test Method | Specimen | CLIA Requirements | Indications for Use (Symptomatic/Asymptomatic) | Indications for Use (Symptomatic/Asymptomatic) - Detailed | Procurement Availability | EUA Letter | EUA Summary/IFU
Abbott Diagnostics Scarborough, Inc. | No | BinaxNOW COVID-19 Ag CARD | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals with symptoms of COVID-19 within the first seven days of symptom onset when tested at least twice over three days with at least 48 hours between tests" OR "individuals with or without symptoms or other epidemiological reasons to suspect COVID-19 infection when tested twice over three days with at least three times over five days with at least 48 hours between tests.s" | Currently available, no known supply issues | https://www.fda.gov/media/141570/download | https://www.fda.gov/media/144576/download
Abbott Diagnostics Scarborough, Inc. | No | BinaxNow COVID 19 Ag 2 Card | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals with symptoms of COVID-19 within the first seven days of symptom onset" OR "individuals with or without symptoms or other epidemiological reasons to suspect COVID-19 infection when tested twice over three days with at least 24 hours (and no more than 48 hours) between tests" | Pending Vendor Information | https://www.fda.gov/media/147264/download | https://www.fda.gov/media/147261/download
Abbott Diagnostics Scarborough, Inc. | No | IDNOW | Isothermal (Molecular) | All Respiratory Specimens | Certificate of Waiver | Symptomatic | qualitative detection of nucleic acid from the SARS-CoV-2 viral RNA in direct nasal, nasopharyngeal or throat swabs from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of the onset of symptoms | Currently available, no known supply issues | https://www.fda.gov/media/136522/download | https://www.fda.gov/media/136525/download
Abbott Diagnostics Scarborough, Inc. | No | IDNOW | Isothermal (Molecular) | All Respiratory Specimens | Certificate of Waiver | Symptomatic | Qualitative detection of nucleic acid from the SARS-CoV-2 virus in direct nasal, nasopharyngeal or throat swabs from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of the onset of symptoms | Currently available, no known supply issues | https://www.fda.gov/media/136522/download | https://www.fda.gov/media/136525/download
Abbott Diagnostics Scarborough, Inc. |  | ID NOW COVID-19 2.0 | Isothermal (Molecular) | Anterior Nasal or Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | "qualitative detection of nucleic acid from SARS-CoV-2 in direct anterior nasal (nasal) or nasopharyngeal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of the onset of symptoms." | Pending Vendor information | https://www.fda.gov/media/158399/download | https://www.fda.gov/media/158402/download
Access Bio, Inc. | No | CareStart COVID-19 Antigen | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals suspected of COVID-19 by their healthcare provider within five days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Currently available, no known supply issues | https://www.fda.gov/media/142916/download | https://www.fda.gov/media/142919/download
Access Bio | No | CareStart EZ COVID-19 IgM/IgG 06/24/2021 | Antibody (IgM and IgG): LFA | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection | Pending Vendor information | https://www.fda.gov/media/150422/download | https://www.fda.gov/media/150425/download
Access Bio | No | CareStart COVID-19 Antigen Home Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals aged 14 years or older (2-13 with adult collect) with symptoms of COVID-19 within the first 7 days of symptom onset or with or without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with atleast 24 hours (and no more than 48 hours) between tests | Pending Vendor information | https://www.fda.gov/media/151245/download | https://www.fda.gov/media/151248/download
ADL Diagnostics, Inc., dba Anavasi Diagnostics |  | The AscencioDx COVID-19 Test and The AscencioDx Molecular Detector | RT Lamp (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | "individuals suspected of COVID-19 by their healthcare provider" | Pending Vendor information | https://www.fda.gov/media/165256/download?utm_source=substack&utm_medium=email | https://www.fda.gov/media/165259/download
Advaite | No | Rapcov Rapid Covid-19 test | LFA/IgG (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor information | https://www.fda.gov/media/145075/download | https://www.fda.gov/media/145080/download
ANP Technologies, Inc. | Yes | NIDS COVID-19 Antigen Rapid Test Kit | Antigen (LFA) | Mid-turbinate Naissal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "collected by a healthcare provider from individuals suspected of COVID-19 within the first 7 days of symptom onset when tested at least twice over three days with at least 48 hours between tests and from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least three times over five days with at least 48 hours between tests" | Pending Vendor information | https://www.fda.gov/media/152462/download | https://www.fda.gov/media/152464/download
Assure Tech | No | Assure COVID-19 IgG/IgM Rapid Test | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | Pending Vendor information | https://www.fda.gov/media/139789/download | https://www.fda.gov/media/139792/download
Becton, Dickinson and Company (BD) | No | BD Veritor System for Rapid Detection of SARS-CoV-2 | Antigen/ELiSA | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of SARS-CoV-2 nucleocapsid antigens in direct anterior nasal swabs from individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Pending Vendor information | https://www.fda.gov/media/139752/download | https://www.fda.gov/media/139755/download
Becton, Dickinson and Company (BD) | No | Veritor | Antigen; Instrument Reader | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of SARS-CoV-2 nucleocapsid antigens in direct anterior nasal swabs from individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. | Currently available, no known supply issues | https://www.fda.gov/media/139752/download | https://www.fda.gov/media/139755/download
Biofire diagnostics | No | Biofire Respiratory Panel 2.1-EZ (RP2.1-EZ) | RT-PCR (Molecular) | Nasopharyngeal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | A multiplexed polymerase chain reaction (PCR) test intended for the simultaneous qualitative detection and differentiation of nucleic acids from multiple viral and bacterial respiratory organisms, 1 including nucleic acid from the SARS-CoV-2 virus, in nasopharyngeal swabs (NPS) obtained from individuals suspected of respiratory infection consistent with COVID-19 by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/142693/download | https://www.fda.gov/media/142696/download
Biosynchronicity Corporation |  | C-Sync COVID-19 Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | "individuals who are suspected of COVID-19 by their healthcare provider within the first seven (7) days of symptoms onset, when tested at least twice over three days with at least 48 hours between tests, and from individuals without symptoms or other epidemiological reasons to suspect COVID-19, when tested at least three times over five days with at least 48 hours between tests" | Pending Vendor information | https://www.fda.gov/media/166549/download | https://www.fda.gov/media/166548/download
Celltrion USA, Inc. | No | Celltrion DiaTrust COVID-19 Ag Rapid Test | Antigen (LFA) | Mid-turbinate Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of SARS-CoV-2 nucleocapsid and receptor binding domain (RBD) antigens in direct mid-turbinate nasal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first 7 days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with at least 24 hours, and no more than 48 hours, between tests. | Pending Vendor information | https://www.fda.gov/media/147691/download | https://www.fda.gov/media/147694/download
Cepheid | No | Xpert Xpress CoV-2/Flu/RSV plus | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Nasal Wash/Aspirate Specimen | Certificate of Waiver | Suspected of COVID by healthcare provider | Suspected of respiratory viral infection, consistent with COVID-19, by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/152165/download | https://www.fda.gov/media/142438/download
Cepheid | No | Xpert Xpress SARS-COV-2 test | RT-qPCR (Molecular) | All Respiratory Specimens | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative detection of nucleic acid from the SARS-CoV-2 in upper respiratory specimens (i.e., nasopharyngeal, oropharyngeal, nasal, or mid-turbinate swab or nasal wash/aspirate) collected from individuals suspected of COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/136316/download | https://www.fda.gov/media/136315/download
Cepheid | No | Xpert Xpress SARS/Flu/RSV | RT-qPCR (Molecular) | All Respiratory Specimens | Certificate of Waiver | Suspected of COVID by healthcare provider | Suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/142434/download | https://www.fda.gov/media/142438/download
Cepheid |  | Xpert Xpress CoV-2 plus | RT-qPCR (Molecular) | All Respiratory Specimens except saliva | Certificate of Waiver | Asymptomatic or Symptomatic | "qualitative detection of nucleic acid from SARS-CoV-2 in nasopharyngeal swab, anterior nasal swab, mid-turbinate nasal swab, oropharyngeal swab or nasal wash/aspirate specimens from individuals suspected of COVID-19 by their healthcare provider, as well as anterior nasal swab specimens from any individual, including from individuals without symptoms or other reasons to suspect COVID-19" | Pending Vendor information | https://www.fda.gov/media/158403/download | https://www.fda.gov/media/158407/download
Cue Health | No | The Cue COVID-19 Test | Isothermal (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleic acid from SARS-CoV-2 in direct anterior nasal swabs or in previously collected anterior nasal swab specimens in viral transport media from individuals with or without symptoms or other epidemiological reasons to suspect COVID-19. | Currently available, no known supply issues | https://www.fda.gov/media/138823/download | https://www.fda.gov/media/138826/download
Diabetomics Inc. | No | CovAb SARS-CoV-2 Ab Test | Antibody (LFA) | Gingival Crevicular Fluid | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor information | https://www.fda.gov/media/149940/download | https://www.fda.gov/media/149943/download
DxLab Inc. |  | DxLab COVID-19 Test | Isothermal (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleic acid from SARS-CoV-2 ... from individuals suspected of COVID-19 by their healthcare provider" OR "Qualitative detection of nucleic acid from SARS-CoV-2 ... from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with at least 24 hours (and no more than 48 hours) between tests. | Pending Vendor information | https://www.fda.gov/media/158977/download | https://www.fda.gov/media/158980/download
Ellume Limited | No | ellume.lab COVID Antigen Test | Antigen (LFA) | Mid-turbinate Nasal Swab | Certificate of Waiver | Symptomatic | Qualitative detection of the nucleocapsid protein antigen from SARS-CoV-2 in direct mid-turbinate nasal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset. | Pending Vendor information | https://www.fda.gov/media/150684/download | https://www.fda.gov/media/150687/download
GenBody | Yes | GenBody COVID-19 Ag | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleocapsid protein antigen from SARSCoV-2 in direct nasopharyngeal (NP) or anterior nasal (AN) swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. Emergency use of this test is limited to authorized laboratories. | Pending Vendor information | https://www.fda.gov/media/150785/download | https://www.fda.gov/media/150788/download
Hangzhou Biotest Biotech Co., Ltd. | No | Right sign | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection | Pending Vendor information | https://www.fda.gov/media/138657/download | https://www.fda.gov/media/138660/download
iHealth Labs, Inc. | No | iHealth COVID-19 Antigen Rapid Test Pro | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals who are suspected of COVID-19 by their healthcare provider within the first seven (7) days of symptom onset" OR "from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with at least 24 hours and no more than 48 hours between tests" | Pending Vendor information | https://www.fda.gov/media/155487/download | https://www.fda.gov/media/155490/download
InBios International, Inc. | No | SCoV-2 Ag Rapid Detect test |  | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | within 5 days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Pending Vendor information | https://www.fda.gov/media/148349/download | https://www.fda.gov/media/148353/download
InBios International, Inc. | No | SCoV-2 Detect IgG Rapid Test | IgG, LFA (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | Pending Vendor information | https://www.fda.gov/media/151818/download | https://www.fda.gov/media/151817/download
InspectIR Systems LLC |  | InspectIR COVID-19 Breathalyzer | Detection of volatile organic compounds (VOCs) | Exhaled breath |  | Asymptomatic or Symptomatic | Individuals, aged 18 years and older, with or without symptoms or other epidemiological reasons to suspect COVID-19 | Pending Vendor information | https://www.fda.gov/media/157720/download | https://www.fda.gov/media/157723/download
Lucira Health, Inc. | No | Lucira All in One COVID-19 Test kit | RT Lamp (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | This test is for prescription home use with self collected nasal swab specimens in individuals aged 14 and older who are suspected of COVID-19 by their healthcare provider. This test is also authorized for use at the point of care (POC), in patient care settings operating under a CLIA Certificate of Waiver, Certificate of Compliance, or Certificate of Accreditation, with self-collected nasal swab specimens in individuals aged 14 and older, and in individuals aged 13 and under when the specimen is collected by a healthcare provider at the POC. This test utilizes a molecular amplification technology for the detection of SARS-CoV-2 RNA in individuals with known or suspected COVID-19. | Currently available, no known supply issues | https://www.fda.gov/media/143810/download | https://www.fda.gov/media/143808/download
Lucira Health, Inc. |  | Lucira COVID-19 and Flu Test | RT Lamp (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | This test is authorized for the simultaneous qualitative detection and differentiation of SARS-CoV-2, Influenza A, and Influenza B viral RNA in anterior nasal swab specimens collected from individuals (2 years of age or older) who are suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider. | Pending Vendor information | https://www.fda.gov/media/163455/download | https://www.fda.gov/media/163458/download
Luminostics, Inc. | Yes | Clip COVID Rapid Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of the nucleocapsid protein antigen from SARS-CoV-2 directly from anterior nasal swab specimens collected from individuals who are suspected of COVID-19 by their healthcare provider within the first five days of onset of symptoms, or individuals without symptoms or other epidemiological reasons to suspect COVID-19, when tested twice over three days with at least 24 hours and no more than 48 hours between tests. | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/144253/download | https://www.fda.gov/media/144256/download
Lumira Dx UK LTD. | No | LumiraDx SARS-CoV-2 Ab Test | Antibody: Total | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post-symptom onset. | Pending Vendor information | https://www.fda.gov/media/151249/download | https://www.fda.gov/media/151252/download
Lumira Dx UK LTD. |  | LumiraDx SARS-CoV-2 RNA STAR Complete | rapid, non-isothermal nucleic acid amplification qSTAR | Anterior nasal, mid-turbinate nasal, nasopharyngeal and oropharyngeal swab specimens | Certificate of Waiver | Asymptomatic or Symptomatic | "Anterior nasal, mid-turbinate nasal, nasopharyngeal and oropharyngeal swab specimens, collected dry or in transport media, from individuals suspected of COVID-19 by their healthcare provider (HCP)" OR "Anterior nasal swab specimens collected dry or in transport media from any individual, including individuals without symptoms or other reasons to suspect COVID-19 when collected by a HCP or self-collected under the supervision of a HCP" OR "Pooled samples containing up to five individual anterior nasal swab specimens, using specified workflows, collected in individual vials either dry or containing transport medium from any individual, including individuals without symptoms or other reasons to suspect COVID-19" | Pending Vendor information | https://www.fda.gov/media/143059/download | https://www.fda.gov/media/143062/download
LumiraDx | No | LumiraDx SARS-CoV-2 Ag Test | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | Qualitative detection of the nucleocapsid protein antigen to SARSCoV-2 directly from anterior nasal swab and nasopharyngeal swab specimens collected from individuals who are suspected of COVID-19 by their healthcare provider within the first twelve days of the onset of symptoms. | Currently available, no known supply issues | https://www.fda.gov/media/141301/download | https://www.fda.gov/media/141304/download
Megna Health, Inc. | No | Rapid COVID-19 IgG/IgM Combo test kit | IgG,IgM, LFA (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | Pending Vendor information | https://www.fda.gov/media/140294/download | https://www.fda.gov/media/140297/download
Mesa Biotech Inc. | No | Accula SARS-CoV-2 | RT-PCR + LFA (Molecular) | Nasal Swab and Mid-turbinate Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative, visual detection of nucleic acid from the SARS-CoV-2 in clinician-collected anterior nasal or nasal mid-turbinate swab samples or clinician-instructed self-collected (collected on site) anterior nasal swab specimens collected from individuals suspected of COVID-19 by their healthcare provider. | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/136345/download | https://www.fda.gov/media/136355/download
MicroGEM U.S., Inc. |  | MicroGEM Sal6830 SARS-CoV-2 Saliva Test | RT-PCR (Molecular) | Saliva | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative test for the detection of nucleic acid from SARS-CoV-2 in saliva specimens collected from individuals suspected of COVID-19 by a healthcare provider. | Pending Vendor information | https://www.fda.gov/media/157751/download | https://www.fda.gov/media/157754/download
Minute Molecular Diagnostics, Inc. |  | DASH SARS-CoV-2/S Test | RT-PCR (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | qualitative detection of nucleic acid from SARS-CoV-2 in direct anterior nasal swab specimens from individuals suspected of COVID-19 by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/156976/download | https://www.fda.gov/media/156979/download
Nano-Ditech Corp. | No | Nano-Check COVID-19 Antigen Test | Antigen (LFA) | Anterior Nasal or Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first five (5) days of symptom onset when tested at least twice over three days with at least 48 hours between tests or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least three times over five days with at least 48 hours between tests | Pending Vendor information | https://www.fda.gov/media/154715/download | https://www.fda.gov/media/154718/download
Nirmidas Biotech, Inc. | No | Mida Spot | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should be collected from individuals greater than 7 days following the onset of symptoms. Samples should not be tested if collected from individuals less than 8 days post symptom onset. | Currently available, no known supply issues | https://www.fda.gov/media/144874/download | https://www.fda.gov/media/144877/download
NOWDiagnostics Inc. | No | AdexusDx COVID-19 Test | Antibody (LFA) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should be collected from individuals that are ≥ 8 days post symptom onset. Samples should not be tested if collected from individuals less than 8 days post symptom onset. | Pending Vendor information | https://www.fda.gov/media/149438/download | https://www.fda.gov/media/149441/download
Oceanit Foundry LLC |  | ASSURE-100 Rapid COVID-19 Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Symptomatic | "from individuals who are suspected of COVID-19 by their healthcare provider within the first eight (8) days of symptom onset" | Pending Vendor information | https://www.fda.gov/media/156638/download | https://www.fda.gov/media/156641/download
OraSure Technologies Inc. | No | InteliSwab COVID-19 Rapid Test Pro | LFA, Serial Screening (Antibody) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | The test is authorized for individuals who are suspected of COVID-19 by their healthcare provider within 7 days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. | Pending Vendor information | https://www.fda.gov/media/149913/download | https://www.fda.gov/media/149918/download
Pfizer Inc. |  | Lucira by Pfizer COVID-19 & Flu Test | RT-Lamp (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Symptomatic | This test is authorized for the simultaneous qualitative detection and differentiation of SARS-CoV-2, Influenza A, and Influenza B viral RNA in anterior nasal swab specimens collected from individuals (2 years of age or older) who are suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider. | Pending Vendor Information | https://www.fda.gov/media/163455/download | https://www.fda.gov/media/163458/download
Pfizer Inc. |  | Lucira COVID-19 All-In-One Test Kit | NAAT (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | This test is also authorized for use at the point of care (POC), in patient care settings operating under a CLIA Certificate of Waiver, Certificate of Compliance, or Certificate of Accreditation, with self-collected anterior nasal swab samples from individuals aged 14 years and older, and in individuals aged 13 years and under when the specimen is collected by a healthcare provider at the POC. | Pending Vendor Information | https://www.fda.gov/media/143810/download | https://www.fda.gov/media/143809/download
Phase Scientific International Ltd. | No | INDICAID COVID-19 Rapid Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleocapsid protein antigen from SARSCoV-2 in direct anterior nasal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first five (5) days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. Anterior nasal swab specimens may be collected by a healthcare provider (HCP) or self-collected (by individuals 18 years of age or older, under the supervision of an HCP). | Pending Vendor information | https://www.fda.gov/media/151212/download | https://www.fda.gov/media/151215/download
Princeton Biomedtech Inc | No | Covid-19/Flu | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | individuals, who are suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider, within the first five days of onset of symptoms | Pending Vendor information | https://www.fda.gov/media/145694/download | https://www.fda.gov/media/145697/download
Princeton Biomedtech Inc |  | ViraDx SARS-CoV-2/Flu A+B Rapid Antigen Test | Antigen (LFA) | anterior nasal or nasopharyngeal swab specimens | Certificate of Waiver | Symptomatic | Simultaneous qualitative detection and differentiation of nucleocapsid protein antigen from SARS-CoV-2, influenza A and influenza B directly from anterior nasal or nasopharyngeal swab specimens collected from individuals, who are suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider, within the first five (5) days of onset of symptoms, when tested at least twice over three days with at least 48 hours between tests. Emergency use of this test is limited to authorized laboratories. | Pending Vendor information | https://www.fda.gov/media/171962/download?attachment | https://www.fda.gov/media/171961/download?attachment
Qorvo Biotechnologies, LLC |  | Omnia SARS-CoV-2 Antigen Test | Antigen | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleocapsid viral antigens from SARSCoV-2 in direct anterior nasal (NS) swab specimens without transport media from individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19, when tested twice over three days with at least 24 hours and no more than 48 hours between tests. Emergency use of this test is limited to authorized laboratories | Pending Vendor information | https://www.fda.gov/media/147575/download | https://www.fda.gov/media/147578/download
Quidel Corporation | Yes | Sofia SARS Antigen FIA | Antigen; Instrument Reader | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 36 hours between tests | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/137886/download | https://www.fda.gov/media/137885/download
Quidel Corporation | Yes | QuickVue SARS Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 36 hours between tests | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/144665/download | https://www.fda.gov/media/144668/download
Roche Molecular Systems | No | cobas SARS-CoV-2 Nucleic acid test for use on the cobas Liat System (cobas SARS-CoV-2) 06/17/2021 | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Mid-turbinate Swab | Certificate of Waiver | Asymptomatic or Symptomatic | from either individuals suspected of COVID19 by their healthcare provider or from any individual, including from individuals without symptoms or other reasons to suspect COVID-19 | Pending Vendor information | https://www.fda.gov/media/150274/download | https://www.fda.gov/media/150278/download
Roche Molecular systems Inc. | No | Cobas Sars-CoV-2 and Flu A/B | RT-PCR (Molecular) | Nasal Swab and Nasopharyngeal Swab | CLIA lab | Suspected of COVID by healthcare provider | individuals suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/141884/download | https://www.fda.gov/media/142193/download
Roche Molecular systems Inc. |  | cobas SARS-CoV-2 & Influenza A/B v2 | RT-PCR (Molecular) | Nasal Swab and Nasopharyngeal Swab | CLIA lab | Suspected of COVID by healthcare provider | This test is authorized for the simultaneous qualitative detection and differentiation of SARS-CoV-2, influenza A virus, and influenza B virus RNA in healthcare provider-collected nasal and nasopharyngeal swab specimens, and self-collected anterior nasal swab specimens (collected in a healthcare setting with instruction by a healthcare provider) from individuals suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider. | Pending Vendor information | https://www.fda.gov/media/173918/download?attachment | https://www.fda.gov/media/173922/download?attachment
Salofa Oy | No | Sienna Clarity COVIBLCK | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor information | https://www.fda.gov/media/140079/download | https://www.fda.gov/media/140082/download
Salofa Oy | No | Sienna-Clarity COVID-19 Antigen Rapid Test Cassette | Antigen | Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset | Pending Vendor information | https://www.fda.gov/media/149056/download | https://www.fda.gov/media/149055/download
SD Biosensor, Inc. |  | STANDARD Q COVID-19 Ag Test 2.0 | Antigen | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of the nucleocapsid protein antigen from SARS-CoV-2 in direct anterior nasal swab specimens collected from individuals who are suspected of COVID-19 by their healthcare provider within the first six (6) days of symptom onset when tested at least twice over three days with at least 48 hours between tests, and from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least three times over five days with at least 48 hours between tests. Emergency use of this test is limited to authorized laboratories. | Pending Vendor information | https://www.fda.gov/media/172636/download?attachment | https://www.fda.gov/media/172639/download?attachment
SEKISUI Diagnostics, LLC |  | OSOM COVID-19 Antigen Rapid Test | Antigen (LFA) | Mid-turbinate Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of the SARS-CoV-2 nucleocapsid protein antigen in direct mid-turbinate (MT) nasal swab specimens collected by a healthcare provider from individuals suspected of COVID-19 within the first 7 days of symptom onset when tested at least twice over three days with at least 48 hours between tests and from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least three times over five days with at least 48 hours between tests. Emergency use of this test is limited to authorized laboratories. | Pending Vendor information | https://www.fda.gov/media/152462/download | https://www.fda.gov/media/152464/download
Sugentech, Inc. | No | SGTi-flex COVID-19 IgG | IgG, LFA (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor information | https://www.fda.gov/media/141888/download | https://www.fda.gov/media/141891/download
Talis Biomedical Corporation | No | Talis One COVID-19 Test System | NAAT/RT, Isothermal amplification | Mid-turbinate Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | individuals suspected of COVID-19 by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/153940/download | https://www.fda.gov/media/153943/download
Uh-Oh Labs Inc |  | UOL COVID-19 Test | NAAT/RT, Isothermal amplification | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | individuals suspected of COVID-19 by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/156099/download | https://www.fda.gov/media/156102/download
Visby Medical, Inc. | No | Visby Medical COVID-19 POC Test | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Mid-turbinate Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative detection of SARS-CoV-2 nucleic acid in nasopharyngeal, anterior nasal, or mid-turbinate swabs collected by a health care provider (HCP) or anterior nasal (nasal) or midturbinate swabs self-collected (by individuals 18 years of age or older, under the supervision of an HCP) from individuals suspected of COVID-19 by their HCP. | Currently limited availability, can check via RADx Tech/ATP channel | https://www.fda.gov/media/145914/download | https://www.fda.gov/media/145917/download
Visby Medical, Inc. |  | Visby Medical Respiratory Health Test | RT-PCR (Molecular) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | "simultaneous qualitative detection and differentiation of SARS-CoV-2, influenza A, and influenza B viral RNA in healthcare provider-collected nasopharyngeal and anterior nasal swab specimens, and healthcare provider-instructed self-collected anterior nasal swab specimens (collected on site) from individuals with signs and symptoms of respiratory tract infection consistent with COVID-19" | Pending Vendor information | https://www.fda.gov/media/164216/download | https://www.fda.gov/media/164215/download
Xtrava Health | Yes | SPERA COVID-19 Ag Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Symptomatic | "individuals suspected of COVID-19 by their healthcare provider within the first five (5) days of symptom onset" | Pending Vendor information | https://www.fda.gov/media/153093/download | https://www.fda.gov/media/153096/download
LFA: Lateral Flow Immunoassay